Stretcher operation

- Make sure the PDMS insert is not present!!

- Connect power supply

- Press ON/OFF button to ON position (| symbol)

- The device will “home” all the actuators and move them to the centre

- Load the PDMS insert

- Select frequency (Hz)

- Select stretch (mm)

- Optional - Press stretch button to change mode (alternative, simultaneous…)

- Press frequency button to start