Cell stretcher current setting

VREF=8⋅IMAX⋅RCS

Red clone

VREF=8⋅0.6A⋅0.2Ω(Measured) =0.96V

Pololu original

VREF=8⋅0.6A⋅0.068Ω =0.326V

Reference: https://www.pololu.com/product/1182